| No | Date received | Title of FCA | Affected Medical Device | MDA Reference Number | MDA Registration Number | Local Establishment Contact Detail |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 02/12/2024 | Urine/CSF Albumin REF B46435, Lot 2217 R2 vial underfill. | URINE / CSF ALBUMIN | MDA/FCA/P1089-78181333-2024 | IVDB7476440117 | BECKMAN COULTER MALAYSIA SDN. BHD. |
| 2 | 05/12/2024 | CADD-Solis™ Ambulatory Infusion Pumps with Multiple Problems. | CADD SOLIS AMBULATORY INFUSION PUMP | MDA/FCA/P1088-74104216-2024 | GC5586521-80774 | PRIMED MEDICAL SDN BHD |
| 3 | 09/12/2024 | Potential Performance Issue with The Aliniq AMS Software Version 3.02 | AlinIQ AMS | MDA/FCA/P1092-71063646-2024 | IVDA6354824-187182 | ABBOTT LABORATORIES (MALAYSIA) SDN. BHD. |
| 4 | 09/12/2024 | Mobile X-Ray Column Assembly Issue on Certain Optima XR200/220/240amx Systems | OPTIMA XR240AMX | MDA/FCA/P1094-46564621-2024 | GC9459623-144049 | GE HEALTHCARE SDN. BHD |
| 5 | 10/12/2024 | BD Facslyric™ Flow Cytometer Power Supplier Failures | FACSLYRIC CLINICAL SYSTEM | MDA/FCA/P1093-24290331-2024 | IVDB4800920-44397 | BECTON DICKINSON SDN BHD |
| 6 | 12/12/2024 | IFU changes on THORAFLEX HYBRID DEVICE | THORAFLEX HYBRID DEVICE | MDA/FCA/P1098-47652201-2024 | GD79535860718 | TERUMO MALAYSIA SDN. BHD. |
| 7 | 13/12/2024 | Tec 800 series vaporizers can deliver less anesthetic agent than the vaporizer dial setting. | TEC 8X0 VAPORIZER (TEC 850, TEC820) | MDA/FCA/P1099-26686580-2024 | GC5976322-106915 | GE HEALTHCARE SDN. BHD |
| 8 | 16/12/2024 | Idylla™ Instrument Potential of False Positive Results for Idylla™ MSI Test | IDYLLA™ SYSTEM - IDYLLA™ CONSOLE AND IDYLLA™ INSTRUMENT, IDYLLA™ MSI TEST | MDA/FCA/P1102-43459295-2024 | IVDC1207720-43097 | ANDAMAN MEDICAL BRIDGE SDN. BHD. |
| 9 | 17/12/2024 | Centargo SUDS Sensor Performance Issues | MEDRAD CENTARGO CT INJECTION SYSTEM | MDA/FCA/P1105-44386650-2024 | GC2773021-59690 | BAYER CO.(MALAYSIA)SDN.BHD. |
| 10 | 18/12/2024 | Potential Issue Identified with ROTEM Sigma Complete and ROTEM Sigma Complete + Hep Cartridges Beginning with Lot Numbers with The Letter “S” + 5- Digit Number From 221203 (ROTEM Sigma Complete) And 221204 (ROTEM Sigma Complete + Hep). | ROTEM® SIGMA | MDA/FCA/P1103-90080351-2024 | IVDC3174420-50832 | STRAITS SCIENTIFIC (M) SDN BHD |
| 11 | 18/12/2024 | Olympus to Reinforce Existing Instructions and Warnings from IFU for Thunderbeat Type S Hand Instrument. | SURGICAL TISSUE MANAGEMENT SYSTEM | MDA/FCA/P1106-50178129-2024 | GC57003616918 | OLYMPUS (MALAYSIA) SDN. BHD. |
| 12 | 18/12/2024 | The Edifier speakers (Purchased in or after April 2023) do not generate audio when the ICS is configured to analog mode and the speakers revert to USB mode. | INFINITY CENTRAL STATION WIDE | MDA/FCA/P1108-31087975-2024 | GC88553130217 | DRAEGER MALAYSIA SDN BHD |
| 13 | 19/12/2024 | Uncontrolled rotation on Cyberknife system | CYBERKNIFE SYSTEM | MDA/FCA/P1025-83035699-2024 | GC39420450717 | TRANSMEDIC HEALTHCARE SDN BHD |
| 14 | 19/12/2024 | Olympus to Provide Reprocessing Instruction and Lists of Available Alternative Devices to MAJ 891 | VISERA ELITE SYSTEM | MDA/FCA/P1107-54356919-2024 | GB3798579516 | OLYMPUS (MALAYSIA) SDN. BHD. |
| 15 | 19/12/2024 | Philips MR system breast coils Potential for harm while using a breast coil | INGENIA ELITION | MDA/FCA/P1110-38374158-2024 | GB179941251719 | PHILIPS MALAYSIA SDN BERHAD |
| 16 | 19/12/2024 |  | INGENIA 1.5T, INGENIA 3.0T | MDA/FCA/P1111-86559761-2024 | GB63162332517 | PHILIPS MALAYSIA SDN BERHAD |
| 17 | 23/12/2024 | VITROS® Chemistry Products DGXN Slides May Generate Negatively Biased Results Due to Haemoglobin Interference | VITROS CHEMISTRY PRODUCTS DIGOXIN (DGXN) | MDA/FCA/P1112-59686067-2024 | IVDC3313423-136491 | T T MEDICAL MANAGEMENT SDN BHD |
| 18 | 24/12/2024 | Spectral CT with Software Version 5.0.X Plan Box Not Updated During Interventional Procedure And Incorrect Patient ID Issues | SPECTRAL CT | MDA/FCA/P1118-60320565-2024 | GC6307722-96412 | PHILIPS MALAYSIA SDN BERHAD |
| 19 | 26/12/2024 | Unfractionated Heparin (UFH) And Low Molecular Weight Heparin (LMWH) Performance Issue with Hemosil Liquid Anti-Xa | HEMOSIL LIQUID ANTI-XA | MDA/FCA/P1116-38756525-2024 | IVDC53329234618 | STRAITS SCIENTIFIC (M) SDN BHD |

Is intended for use by professional healthcare providers for physiologic/hemodynamic monitoring, medical data processing and analytical assessment